Da-Lite®

3100 N. Detroit St.

Warsaw, IN 46582

Phone: (800) 622-3737

Phone: (574) 267-8101

Fax: (877) 325-4832

Fax: (574) 267-7804

E-mail: info@da-lite.com

www.da-lite.com

This MANU-SPEC® utilizes the Construction Specifications Institute (CSI) Project Resource Manual (PRM), including MasterFormat™, SectionFormat™ and PageFormat™. A MANU-SPEC is a manufacturer-specific proprietary product specification that uses the proprietary method of specifying applicable to project specifications and master guide specifications. Optional text is indicated by brackets [ ]; delete optional text in final copy of specification. Specifier Notes precede specification text; delete notes in final copy of specification. Trade/brand names with appropriate product model numbers, styles and types are used in Specifier Notes and in the specification text Article titled “Acceptable Material.” Metric conversion, where used, is soft metric conversion.

This MANU-SPEC specifies electrically operated projection screens as manufactured by Da-Lite® Revise MANU-SPEC section number and title below to suit project requirements, specification practices and section content. Refer to CSI MasterFormat for other section numbers and titles.

SECTION 11 52 13.00.02

LARGE VENUE PROJECTION SCREENS

- GENERAL

  - SUMMARY

    - Section Includes: This Section specifies electrically operated front projection screens and accessories.

Specifier Note: Revise paragraph below to suit project requirements. Add section numbers and titles per CSI MasterFormat and specifier’s practice.

  - RELATED SECTIONS

    - Section 26 05 00 - Common Work Results for Electrical: Power supply, conduit and wiring.

    - Section [______].

  - DEFINITIONS

    - Gain: Indication of screen’s luminance or brightness, measured perpendicular to screen center and relative to magnesium carbonate block, which serves as standard for 1.0 gain. Higher numbers indicate greater brightness.

    - Viewing Angle: Horizontal angle from perpendicular center of screen at which gain or brightness decreases by 50%.

    - Format: Proportion of projection screen viewing area expressed as a ratio of width/height.

      - NTSC or Video Format: 1.33:1.

      - HDTV Format: 1.78:1.

      - 16:10 Wide: 1.60:1.

      - Cinemascope: 2.35:1.

      - Letterbox: 1:85:1.

      - Square: 1:1.

      - [______].

Specifier Note: Article below may be omitted when specifying manufacturer’s proprietary products and recommended installation. Retain Reference Article when specifying products and installation by an industry reference standard. Indicate issuing authority name, acronym, standard designation and title. Establish policy for indicating edition date of standard referenced. Contract Conditions or Section 01 42 19 - Reference Standards may establish the edition date of standards. This Article does not require compliance with standards, but is merely a listing of references used. Article below should list only those industry standards referenced in this Section. Retain only those reference standards to be used within the text of this Section. Add and delete as required for specific project.

  - REFERENCES

    - International Code Council (ICC):

      - International Building Code.

    - Society of Motion Picture and Television Engineers (SMPTE):

      - SMPTE RP 94-2000, Gain Determination of Front Projection Screens.

    - Underwriters Laboratories Inc. (UL).

    - Underwriters’ Laboratories of Canada (ULC).

  - ACTION SUBMITTALS

    - General: Submit listed action submittals in accordance with Contract Conditions and Section [01 33 00 - Submittal Procedures] [______].

    - Product Data: Submit product data, including manufacturer’s technical product data sheet, for specified products.

      - Material Safety Data Sheets (MSDS).

    - Shop Drawings: Indicate dimensions, fabrication and installation details.

      - Include electric wiring diagrams.

Specifier Note: Indicate below quantity and dimensions of screen finish material samples to suit project requirements.

    - Samples: Submit [2] samples of screen finish material having dimensions of [6 inches × 6 inches (152 × 152 mm)].

  - INFORMATION SUBMITTALS

    - Quality Assurance:

      - Test Reports: Certified test reports showing compliance with specified performance characteristics and physical properties.

      - Certificates: Product certificates signed by manufacturer certifying that materials comply with specified performance characteristics, criteria and physical requirements.

      - Manufacturer’s installation instructions.

  - CLOSEOUT SUBMITTALS

    - Operation and Maintenance Data: Submit for products in accordance with Section [01 78 00 - Closeout Submittals]. Include:

      - Manufacturer’s instructions detailing maintenance requirements.

      - Parts catalog that includes complete list of repair and replacement parts, with cuts and identifying numbers.

  - QUALITY ASSURANCE

    - Qualifications:

      - Worker experienced in performing work of this section who has specialized in work similar to that required of this project.

    - Regulatory Requirements:

Specifier Note: Electrically operated projection screens must meet the requirements of building codes and zoning bylaws issued by federal, state and local government authorities having jurisdiction (AHJs). Ensure that the project specification section reflects the need to meet these requirements. Edit Article below as applicable.

      - Comply with [Uniform Building Code (UBC)] [International Building Code (IBC)] [Building Code for [State] [City] of [______].

    - Preinstallation Meetings: Conduct preinstallation meeting to verify project requirements and manufacturer’s instructions. Comply with Section [01 31 19 - Project Meetings].

  - DELIVERY, STORAGE & HANDLING

    - Storage and Protection:

      - Store electric projection screens in a dry, ventilated area, protected from exposure to harmful weather conditions, at a temperature less than 80 degrees F (27 degrees C).

    - Handling: Handle electrically operated projection screen materials with care in order to prevent damage.

    - Deliver materials in manufacturer’s original, unopened, undamaged containers with identification labels intact.

    - Waste Management and Disposal:

Specifier Note: The disposal of packaging waste into landfill sites demonstrates an inefficient use of natural resources and consumes valuable landfill space. Specifying appropriate packaging and construction waste management and disposal procedures may contribute points toward LEED® project certification. Retain or delete subparagraphs below to suit project requirements.

      - Separate waste materials for [reuse] [and] [recycling] in accordance with Section [01 74 19 - Construction Waste Management and Disposal].

Specifier Note: Manufacturer may reclaim packaging and delivery materials for recycling.

      - Remove packaging materials from site and dispose of at appropriate recycling facilities.

      - Collect and separate for disposal [paper] [plastic] [polystyrene] [corrugated cardboard] [______] packaging material [in appropriate onsite bins] for recycling.

  - PROJECT AMBIENT CONDITIONS

    - Project Location: Perform electrically operated projection screen work when temperatures are greater than 40 degrees F (4 degrees C).

  - SEQUENCING

    - Sequence With Other Work: Comply with projection screen manufacturer’s written recommendations for sequencing construction operations.

Specifier Note: Coordinate Article below with Contract Conditions and with Section [01 78 36 - Warranties].

  - WARRANTY

    - Project Warranty: Refer to Contract Conditions for project warranty provisions.

    - Manufacturer’s Warranty: Submit, for Owner’s acceptance, manufacturer’s standard warranty document executed by authorized company official. Manufacturer’s warranty is in addition to, and does not limit, other rights Owner may have under Contract Documents.

Specifier Note: Coordinate Article below with manufacturer’s warranty requirements.

    - Warranty: Commencing on date of acceptance by [Owner] [Architect] [Consultant] [______].

  - MAINTENANCE MATERIALS

    - Use standard product line parts produced by manufacturer of electrically operated projection screens.

- PRODUCTS

  - MANUFACTURERS

Specifier Note: Edit manufacturer experience requirement below to suit project requirements.

    - Ensure manufacturer has minimum [5] years experience manufacturing components similar to or exceeding project requirements.

    - Manufacturer: Da-Lite Screen Company, Inc.

      - Contact: P.O. Box 137, 3100 N. Detroit St., Warsaw, IN 46581-0137; Telephone: (800) 622-3737, (574) 267-8101; Fax: (877) 325-4832, (574) 267-7804; E-mail: info@da-lite.com; website: www.da-lite.com.

Specifier Note: Retain Article below for proprietary method specification. Add product attributes, performance characteristics, material standards and descriptions as applicable. Use of such phrases as “or equal,” “or approved equal” or similar phrases may cause ambiguity in specifications. Such phrases require verification (procedural, legal and regulatory) and assignment of responsibility for determining “or equal” products.

  - PROPRIETARY PRODUCTS/PROJECTION SCREEN SYSTEMS

Specifier Note: Determining the projection screen best suited for a project is based on many variables, including room configuration, projector placement, projection method, ambient light conditions, display brightness, projected image makeup (number of pixels) and maintenance expectations. These conditions should also be considered when determining screen placement and the surface required for optimum viewing.

    - Type 1: Non-Tensioned System.

Specifier Note: Retain subparagraphs and options below to suit project requirements. 120 V, 60 Hz motor is standard; 220 V, 50 Hz motor is optional.

      - Screen Operation: Electrically operated, UL and ULC listed, retractable, heavy duty, with rigid metal roller.

        - Motor: Single motor, UL and ULC certified, 3-wire, permanently lubricated reversal-type, attached to header and including automatic thermal overload protection, integral gears, capacitor and electric brake to prevent coasting.

          - Voltage, Frequency: [115 V, 60 Hz] [220/240 V, 50 Hz].

          - Amperage: 2.4 amps.

          - Limit Switches: Preset and adjustable to automatically stop viewing surface in UP or DOWN position.

          - Housing: Inside metal roller.

      - Screen Mounting: [Ceiling recessed] [Ceiling] [Wall].

        - Include mounting hardware.

      - Screen Case: Designed to receive mounting hardware and sized to suit projection screen.

        - Material: Wood with double top member for rigidity.

        - Length: [______] inches ([______] mm).

        - Finish:

          - Prime painted [Black] [White].

Specifier Note: Refer to manufacturer’s product literature to determine the most appropriate viewing area and screen size dimensions for project requirements. Insert values below.

      - Screen Size:

        - Viewing Area: H [______] inches × W [______] inches (H [______] × W [______] mm).

        - Overall Dimensions: H [______] inches × W [______] inches (H [______] × W [______] mm).

      - Acceptable Material: Da-Lite Screen Company, Inc. Professional Electrol Projection Screen.

        - Screen Viewing Surface:

Specifier Note: Screen surfaces with black borders are standard; surfaces without borders are optional. Edit subparagraph below to suit project requirements.

          - Front projection, flame retardant, mildew resistant, vinyl coated fiberglass, black backed, [with] [without] standard black borders, easily cleaned with mild soap and water solution.

Specifier Note: Certain fabrics are seamless to 16 feet (4.9 m). Others are seamless to 10 feet (3.1m), 8 feet (2.4 m) or to 6 feet (1.8 m). Refer to manufacturer’s product data sheets and specify to suit project requirements.

          - Seams: Seamless when screen heights are less than 16 feet (4.9 m).

          - Include pocket containing metal rod at screen bottom edge.

Specifier Note: The higher the gain number, the brighter the image. Gain numbers generally vary depending on the surface materials of the screen. Specify gain number below to suit project requirements.

          - Gain: To SMPTE RP 94-2000, 1.0.

Specifier Note: The larger the viewing angle, the less need there is to be directly in front of the screen for proper viewing. Generally, viewing angles vary depending on the surface materials of the screen. Specify viewing angle below to suit project requirements.

          - Viewing angle: 60.

Specifier Note: The screen format describes height relative to width as a ratio. Specify a screen format that best suits the graphic display and project requirements.

          - Format: [NTSC or Video - 1.33:1] [HDTV - 1.78:1] [16:10 Wide - 1.60:1] [Cinemascope - 2.35:1] [Letterbox - 1.85:1] [Square 1:1] [______].

Specifier Note: There is no industry standard that defines the varying types of viewing surfaces. Manufacturers have developed different viewing surfaces to differentiate between one projection screen model and the next. Check other manufacturers’ product literature for names of viewing surfaces. Da-Lite® Screen Company, Inc., manufactures a variety of viewing surfaces for use with non-tensioned large venue projection screens. Each of these viewing surfaces has a different combination of surface finish, surface construction, gain and viewing angle and may not be available with all non-tensioned large venue screen models. Viewing surfaces manufactured by Da-Lite® Screen Company, Inc., for use with Type 1 - Non-Tensioned Large Venue projection screens have received the GREENGUARD Indoor Air Quality Certification® (certification #90068) indicating that these surfaces meet performance-based standards to define goods with low chemical and particle emissions for use indoors. These viewing surfaces have also received the GREENGUARD Children and Schools Certification indicating that these surfaces comply with the State of California’s Department of Health Services Standard Practice (CA Section 01350) for testing chemical emissions from building products used in schools. As such, GREENGUARD Children and Schools Certified products can be used as a strategy to earn valuable credits in the CHPS Best Practices Manual for K-12 schools. Use of these viewing surfaces may also contribute points toward LEED® certification. Refer to manufacturers’ technical data sheets to determine the most appropriate viewing surface to meet project requirements.

        - Acceptable Viewing Surface: Da-Lite Screen Company, Inc.:

          - [Matte White].

      - Optional Accessories:

Specifier Note: Maximum screen drop varies by projection screen model and size. Refer to manufacturer’s technical data sheets to determine the maximum amount of screen drop available to suit project requirements.

        - Screen Drop: Extra drop of [______] feet [______] m in [black] [white] fabric.

        - Single Motor Low Voltage Control (LVC): External.

        - Wireless Remote Control for LVC: 3-button handheld remote control for UP, DOWN and STOP functions, with single motor, low voltage control unit.

          - Type: [Radio Frequency Remote [with Frequency Range Extender]] [Infrared].

        - Key Locking Cover Plate: Hinged cover plate with brushed stainless steel finish provides keyed access to [120 V] [LVC] wall switch.

Specifier Note: Specify Video Projector Interface Control to raise or lower screen automatically when projector is turned ON or OFF. A projector must have 5 V - 12 V output to operate the interface.

        - Video Projector Interface Control: External, DC controls and low voltage 3-button switch with cover plate for wall switch operation.

Specifier Note: Key operated switch cannot be used with low voltage control unit or remote control.

        - Key Operated Switch for 120 V: Flush mounted wall control switch with white cover plate, key activated for security.

Specifier Note: Specify external SCB-100 Serial Control Board for screen control using RS-232C communication and/or relay closures. Include optional NET-100 Ethernet-Serial Adapter to allow SCB-100 controlled screen to be controlled over a local-area or wide-area network.

        - External SCB-100 Serial Control Board [with NET-100 Ethernet-Serial Adapter].

Specifier Note: Edit Article below to suit project requirements. If substitutions are permitted, edit text below. Add text to refer to Section 01 25 13 - Product Substitution Procedures.

  - PRODUCT SUBSTITUTIONS

    - Substitutions: [In accordance with Section 01 25 13 - Product Substitution Procedures] [No substitutions permitted].

- EXECUTION

  - INSTALLERS

    - Provide experienced and qualified technicians to install electrically operated projection screens.

  - MANUFACTURER’S INSTRUCTIONS

Specifier Note: Article below is an addition to CSI SectionFormat and a supplement to this Section. Revise Article below to suit project requirements and specifier’s practice.

    - Compliance: Comply with manufacturer’s written data, including product technical bulletins, product catalog installation instructions, product carton installation instructions and Da-Lite Screen Company, Inc., technical data sheets.

  - EXAMINATION

    - Site Verification of Conditions

      - Verify that conditions of substrates previously installed under other sections or contracts are acceptable with electrically operated projection screen installation.

      - Ensure electrical power supply is installed to meet electric projection screen requirements in accordance with Section [26 05 00 - Common Work Results for Electrical].

        - Verify type and location of power supply.

      - Inform [Owner] [Architect] [Consultant] [______] of unacceptable conditions immediately upon discovery.

      - Proceed with installation only after unacceptable conditions have been corrected.

  - COORDINATION

    - Coordinate electric projection screen placement with placement of other ceiling and wall mounted components.

  - INSTALLATION

    - Install electric projection screens in accordance with reviewed shop drawings at locations and heights indicated.

    - Install screen housing and make electrical connections [prior to] [in conjunction with] installation of ceiling system.

      - Verify locations with [Owner] [Architect] [Consultant] [______] prior to installation.

Specifier Note: Screen fabric is attached to the roller at the factory. Ensure that screen fabric remains permanently attached to roller before, during and after installation.

Specifier Note: Viewing surfaces and motor assemblies can sometimes be site installed, depending upon the model specified. This allows the material to be protected when major construction is still being performed onsite. Retain or delete bracketed instructions in paragraph below to suit project requirements.

    - Install viewing surface and drive assembly in housing [only after interior construction is substantially complete].

    - Securely install screens plumb and level to supporting substrate.

  - FIELD QUALITY CONTROL

Specifier Note: Use the following Articles to verify the quality of installed components when manufacturer’s field services are desired. Establish the number and duration of periodic site visits required by the Manufacturer and specify below. Consult with the Manufacturer for services required. Delete if field services are not required.

    - Manufacturer’s Field Services: Have manufacturer’s technical representative schedule site visits to review work as follows:

      - After delivery and storage of products.

      - When preparatory work for which work of this Section depends is complete, but before installation begins.

      - [Weekly] [2 times] during progress of work [at [25%] and [60%]] of completion.

      - Upon completion of work, after cleaning is carried out.

Specifier Note: Edit paragraphs and subparagraphs below to suit project quality control requirements, and identify all components for which verification is required.

    - Testing and Inspection: Operate each screen [3] times to ensure viewing surfaces extend and retract through full range of motion.

      - Verify controls, limit switches, [automatic doors] and other components function as designed and meet project requirements.

      - Ensure viewing surface raising operation fully engages and lifts screen closure door into closed position.

      - Adjust motors, controls and components to allow for smooth, unobstructed screen operation.

  - FINAL CLEANING

    - Perform cleanup in accordance with Section [01 74 00 - Cleaning and Waste Management].

    - Upon completion, remove surplus materials, rubbish, tools and equipment.

  - PROTECTION

Specifier Note: Coordinate the following Article with Section 01 76 00 - Protecting Installed Construction.

    - Protect electrically operated projection screens from damage during construction in accordance with Section [01 76 00 - Protecting Installed Construction].

    - Repair damage to adjacent materials caused by electrically operated projection screen work.

  - MAINTENANCE

    - Perform work during regular trade working hours satisfactory to [Owner] [Architect] [Consultant] [______].

END OF SECTION